## Slide 1
Use case 2 – Smart Grid
HORIZON-CL3-2022-CS-01-04: INCREASED CYBERSECURITY 2022
Ref. Ares(2022)8966412 - 23/12/2022
Pedro Tito Macías Roselló

## Slide 2
UC 2 Energy. Electric Grid Controller certification
Midterm Workshop, Prague (Czech republic) Feb. 2025
Why is Electric Network a Critical Infrastructure for the EC?
  Essential for the maintenance of vital societal functions
Its damage, destruction or disruption may have a significant negative impact for the security of the EU and the well-being of its citizens
In the electric network, the Substation Automation Systems (SASs) are mission critical systems that control and monitor the electric infrastructure.
This UC is a non-AI product and is certified according to IEC 62443-4-1 and IEC 62443-4-2.
Improve the security of the devices architecture of the Substation Automation Systems (SASs) to protect the electrical network
Address the cybersecurity certification process of an Electric Grid Controller
Grid Controllers in electric substation

## Slide 3
UC 2 Energy
Electric Grid Controller Certification
Midterm Workshop, Prague (Czech republic) Feb. 2025
Captures real-time information measured directly from substation assets or by using industrial communication protocols to exchange information with other elements of the substation
Captured information is shared with grid operators through the Supervisory Control and Data Acquisition (SCADA) system following industrial communication standards (IEC 101, IEC 104, Modbus, DNP3, IEC 61850)
SCADA defines the operation strategy of the grid and routes it to such controller
REMOTE TERMINAL UNIT
Key Element of the Electric Grid
Cyber-attacks exposed
Designed with cybersecurity mindset
Developed as per
IEC 62443-4-1
IEC 62443-4-2
POWERLOGIC T300

## Slide 4
Generic Certification approach
Product specification
Standards requirements
Threat
model
Threat mitigation
Cybersecurity certification

## Slide 5
UC 2 Energy
Electric Grid Controller certification
Midterm Workshop, Prague (Czech republic) Feb. 2025
FOUNDATIONAL REQUIREMENTS (IEC 62443-4-2) | SL1 | SL2 | SL3 | SL4
FR 1. Identification and Authentication Control | 10 | 16 | 23 | 24
FR 2. Use Control (C) | 12 | 23 | 29 | 32
FR 3. System Integrity (SI) | 16 | 36 | 40 | 42
FR 4. Data Confidentiality (DC) | 2 | 3 | 5 | 5
FR 5. Restricted Data Flow (RDF) | 3 | 4 | 6 | 6
FR 6. Time Response to Events | 1 | 2 | 3 | 3
FR 7. Resource Availability | 6 | 9 | 10 | 10
SECURITY LEVEL 1
Prevent the unauthorized disclosure of information via eavesdropping or casual exposure
SECURITY LEVEL 2
Prevent the unauthorized disclosure of information to an entity actively searching for it using simple means with low resources, generic skills and low motivation.
SECURITY LEVEL 3
Prevent the unauthorized disclosure of information to an entity actively searching for it using sophisticated means with moderate resources, IACS specific skills and moderate motivation.
SECURITY LEVEL 4
Prevent the unauthorized disclosure of information to an entity actively searching for it using sophisticated means with extended resources, IACS specific skills and high motivation.

## Slide 6
CertifAI Certification approach
Product specification
Standards requirements
Threat
model
Threats mitigations
Cybersecurity certification
CertifAI Framework tools

## Slide 7
How CertifAI improves the process
Team
Reduce the gap with IEC 62443-4-2
Improve process quality through test coverage increase
Reduce time for the (re-)certification by 20%

## Slide 8
Thank You
For Your Attention

## Slide 9
Achieve
Certification Level
SL – C2
Lorem ipsum dolor sit amet,et sed consectetur adipiscing elit, sed do eiusmod tempor ut
Lorem ipsum dolor sit amet,et sed consectetur adipiscing elit, sed do eiusmod tempor ut
Vulnerabilities Detection
Mitigation Mechanisms
UC 2 Energy
Electric Grid Controller certification
Midterm Workshop, Prague (Czech republic) Feb. 2025
HERRAMIENTAS QUE VAN A DESARROLLAR EL PROYECTO RELACIONADO CON ESTO

## Slide 10
Achieve SL – C 2
Lorem ipsum dolor sit amet, consectetur adipiscing elit, sed do eiusmod tempor incididunt ut labore et dolore magna aliqua. Ut enim ad minim veniam, quis nostrud exercitation ullamco
Lorem ipsum dolor sit amet,et sed consectetur adipiscing elit, sed do eiusmod tempor ut
Lorem ipsum dolor sit amet,et sed consectetur adipiscing elit, sed do eiusmod tempor ut
Vulnerabilities Detection
Mitigation Mechanisms
UC 2 Energy
Electric Grid Controller certification
Midterm Workshop, Prague (Czech republic) Feb. 2025

## Slide 11
UC 2 Energy
Electric Grid Controller certification
Midterm Workshop, Prague (Czech republic) Feb. 2025
Captures real-time information measured directly from substation assets or by using industrial communication protocols to exchange information with other elements of the substation
Captured information is shared with grid operators through the Supervisory Control and Data Acquisition (SCADA) system
SCADA defines the operation strategy of the grid and routes it to such controller
Key Element of the Electric Grid
Cyber-attacks exposed
Designed with cybersecurity mindset
Developed as per
IEC 62443-4-1
IEC 62443-4-2
Certified SL-C1