## Slide 1
Use case 2 – Smart Grid
HORIZON-CL3-2022-CS-01-04: INCREASED CYBERSECURITY 2022
Ref. Ares(2022)8966412 - 23/12/2022
Evgeny Prokofyev

## Slide 2
About Us
European company in energy management and industrial automation, with strong expertise in electrification and smart energy systems.
Our R&D team, based in Seville, Spain, designs and develop products with a global scope.

## Slide 3
UC 2 Energy. Electric Grid Controller certification
CertifAI Final Conference, Prague June 2026
Why is Electric Network a Critical Infrastructure for the EC?
  Essential for the maintenance of vital societal functions
Its damage, destruction or disruption may have a significant negative impact for the security of the EU and the well-being of its citizens
In the electric network, the Substation Automation Systems (SASs) are mission critical systems that control and monitor the electric infrastructure.
This UC is a non-AI product and is certified according to IEC 62443-4-1 and IEC 62443-4-2.
Improve the security of the devices architecture of the Substation Automation Systems (SASs) to protect the electrical network
Address the cybersecurity certification process of an Electric Grid Controller
Grid Controllers in electric substation

## Slide 4
UC 2 Energy
Electric Grid Controller Certification
CertifAI Final Conference, Prague June 2026
Captures real-time information measured directly from substation assets or by using industrial communication protocols to exchange information with other elements of the substation
Captured information is shared with grid operators through the Supervisory Control and Data Acquisition (SCADA) system following industrial communication standards (IEC 101, IEC 104, Modbus, DNP3, IEC 61850, MQTT)
SCADA defines the operation strategy of the grid and routes it to such controller
REMOTE TERMINAL UNIT
Key Element of the Electric Grid
Cyber-attacks exposed
Designed with cybersecurity mindset
Developed as per
IEC 62443-4-1
IEC 62443-4-2
POWERLOGIC T300

## Slide 5
Tools Integration
Useful approach through a defined workflow.
CertifAI Framework
Threat Model
Subject of Certification
Security Assurance Cases
Continuous assesment
Threat Spider
SAC Composer
SBOM
VIMPACT

## Slide 6
More comprehensive than conventional STRIDE based tools
Detailed and specific mitigations mapped to threats
Traceability with threat model
Extensive and detailed
Threat Spider
Threat Model
Risk Assesment

## Slide 7
Intuitive match between requirements and evidences.
Consistent traceability.
SAC Composer
Requirement
Claim
Sub-claim
Claim
Sub-claim
Evidence
Evidence

## Slide 8
How CertifAI improves the process
Reduce the gap with IEC 62443-4-2
Improve process quality through test coverage increase
Reduce time for the (re-)certification by 20%

## Slide 9
Thank You
For Your Attention